BIRZEIT UNIVERSITY

Physics Department

## Physics 111

Experiment No. 9

RC circuit

………………………………………………………………………………………

Student’s Name:  Osaid   Ayasa              Student’s No.: 1101634

Partner’s Name:   Maryam  Irbash          Partners’ No. : 1100027

Instructor:   Dr. Tayseer  Arouri                           Section No.:  14

Date:	 November. 4. 2010

Abstract:

1)The aim of the experiment is to find the time constant τ of an RC circuit and the value of its capacitor.

2)The method used is by measuring the voltage on the capacitor at certain moments in a charging and a discharging circuits.

3)The main result is:          C=21±1μF

Theory:

Lets consider the series RC

circuit shown in figure1,

consisting of a capacitor C

and a resistance R connected in

series to a voltage source ε,

at t=0 the capacitor is uncharged ,

that is, Q0=0, when the circuit

is closed then the capacitor will

start charging.

Here are the two states , charging

and discharging , we will treat at this experiment:

A. Charging:

From Kirchhoff’s second rule , which implies that the sum of all voltage drops over a closed group is zero (i=1nVi=Zero) we find that ,in our circuit, :

ε−IR−QC=0         I=εR−QRC              ∂Q∂t=εR−QRC

∂QεR−QRC=∂t  		;(as I=∂Q∂t)

Integrating both sides:

Q=0Q(t)1εR−QRC∂Q=0t∂t                  −RCLn((εR)−(QRC)εR)=t

Ln((εR)−(QRC)εR)=−tRC

Exponentiating both sides , we get :

(εR)−(QRC)εR=e−tRC           1−QεC=e−tRC

Q(t)=εC(1−e−tRC)

and as the voltage on the capacitor has the relation (V=Q/C) with the charge on it , thus:

V(t)=ε(1−e−1RC)

At the time t=RC ,which is known as the time constant τof the circuit the voltage on the capacitor is:

V(t=RC)=ε(1−e−1)=ε(1−1e)=0.63ε

We see from equation E1 that the time constantτis the time needed for the potential difference on the capacitor V(t) to reach 0.63 of the maximum voltage ε.

Note : τcan be found from the graph of the charging curve as that of figure , by drawing a parallel line to the t-axis passes through 0.63εvolts on the v-axis , then by drawing a parallel line to the v-axis , from the point where the first line cuts the curve of V vs. t , and the point where it cuts the t-axis isτ as shown in figure 2.

B. Dicharging:

After the capacitor has been charged ,

and if we removed the power supply ,

and a resistance R is connected ,by

series, to this circuit as shown in

figure 3 , the capacitor has an initial

potential difference of εand an initial

charge of Q0=Cε.Then the capacitor

will start discharging through the resistance . Back again to Kirchhoff’s second rule ;

−IR−QC=0       −∂Q∂tR−QC=0              R∂Q∂t=−QC

Dividing both sides by RQ;

∂QQ=−1RC∂t

Integrating both sides;

Q=0Q(t)∂QQ=−1RC0t∂t                        LnQ(t)−LnQ0=−1RCt

Ln(Q(t)Q0)=−1RCt

Q(t)Q0=e−1RCt             Q(t)=Q0e−1RCt     Q(t)=εCe−1RCt

And as the voltage on the capacitor V =Q/C ;

V(t)=Q(t)C=εe−tRC

And at time t=τ;

V(t=RC)=εe−1=εe=0.37ε

From the discharging curve as that shown in figure 2 we can find τ, but this time the first line cuts the v-axis at v=0.37ε volts

A third way for finding τis from the linear equation we get from taking the natural logarithm of  both sides of equation E2 ;

Lnv(t)=Lnεe−tRC                Lnv(t)=Lnε−tRC

Equation E3 gives a linear equation with the  y-intercept Ln(ε) and with a slope m=−1RC=−1τ .

So τ=−1m

The value of the unknown capacitor can be found using this equation :

C=τR

The uncertainty in C ΔCis found by taking the partial derivative of the later equation , thus;

ΔC=ΔτR+−τΔRR2              ΔC=C(Δττ+ΔRR)

The uncertainty in τ,Δτ=σm(τ),the standard deviation of the mean value of the measurements of τ.The resistance R is measured either by the ohmmeter or using the color code on it, and ΔR, the uncertainty in R, is to be estimated from the multi-meter (switched to as an ohmmeter)  or from the color code.

Procedure:

First, the circuit was setup as shown in figure 1,volts was provided from the main power supply . ( Note : the voltmeter which was used was  a digital voltmeter and it was adjusted to read DC volts and also the appropriate scale was selected ) .

Then , before doing the experiment , the capacitor had no charge on it , this was done by shortening the terminals of the capacitor by a wire .

After that , the wire was removed and the circuit was closed . At the same instant the stop watch was started and the reading of the digital voltmeter for the time values were written down in the table of data .

The circuit was disconnected from the voltage source and it was replaced by a short at the same instant the stop watch was started . this was the circuit as shown in figure3. before closing the circuit , the voltage on the capacitor was the maximum , and the voltage on the capacitor was started decreasing as a function of time  , and the capacitor voltage for the time were written down below in the table of data .

Data:

C=22μF

R=10×105±5%Ω

R=106±1  Ω

(From the color code)

| Time (sec) | Charging VCapacitor(volts) | Discharging VCapacitor(volts) |
| --- | --- | --- |
| 0 | 0.00 | 5.64 |
| 5 | 1.72 | 5.03 |
| 10 | 2.43 | 4.36 |
| 15 | 3.09 | 3.57 |
| 20 | 3.49 | 2.88 |
| 25 | 3.88 | 2.40 |
| 30 | 4.14 | 2.00 |
| 35 | 4.44 | 1.71 |
| 40 | 4.65 | 1.40 |
| 45 | 4.80 | 1.14 |
| 50 | 4.95 | 0.92 |
| 55 | 5.07 | 0.77 |
| 60 | 5.17 | 0.66 |
| 65 | 5.26 | 0.52 |
| 70 | 5.34 | 0.44 |
| 75 | 5.40 | 0.37 |
| 80 | 5.44 | 0.30 |
| 85 | 5.48 | 0.24 |
| 90 | 5.51 | 0.20 |
| 95 | 5.54 | 0.17 |
| 100 | 5.54 | 0.14 |
| 105 | 5.57 | 0.12 |
| 110 | 5.59 | 0.10 |
| 115 | 5.60 | 0.08 |
| 120 | 5.61 | 0.06 |
| 125 | 5.62 | 0.05 |
| 130 | 5.63 | 0.04 |
| 135 | 5.64 | 0.03 |
| 140 | 5.64 | 0.03 |
| 145 | 5.64 | 0.02 |
| 150 | 5.64 | 0.02 |
| 155 | 5.64 | 0.01 |
| 160 | 5.64 | 0.01 |
| 165 | 5.64 | 0.01 |

Calculations:

1)From the linear graph paper:

a) The time constant from the charging curve (τc):

τc=20.5Sec

b) The time constant from the discharging curve (τd) :

τd=21.5Sec

2)From the semi-log graph ;

Slope=Ln0.5−Ln4.3665−10=−0.040Sec−1

τs=21.60Sec 	 τ=21.20Sec

Δτ=σsN=0.573=0.33Sec

Resistance

R=106±1Ω

C=τR=21.2106=21.2×10−6F

ΔC=C(Δττ+ΔRR)

ΔC=C(Δττ+ΔRR)=21.2×10−6(0.3321.2+5×104106)21.2×10−6(0.016+0.05)=1.39×10−6F

C=21±1μF

Results & conclusion:

C=21±1μF

The range of measured value of C is from 20 to 22 μFand so the manufacturer’s stated value of C written on the capacitor lies within the range.

Increasing the resistance R affects both the charging and discharging processes by increasing the time needed for charging and discharging. Notice that τ=RC

The unit of τ=RCis seconds :

[τ]=[RC]=Ω×F=VotlsA×colomVolts=colomcolom/sec=sec

Notice that:

* R=VI               *C=QV                     *I=∂Q∂t

A systematic error I expect in this experiment is that when my partner finished his periodic counting and I read the value of the voltage it was not the certain value , as sometimes the value changed after its ,relatively, long steady  just after he began a new counting. Much more digits are to be taken for the voltage.

Charging

Discharging