Physics Department

Physics 211

Experiment No.8

The thermal Expansion Coefficient of Brass.

Student’s Name: Remah Dahdoul                                Student’s No.: 1181771
Partner’s Name:  Nadea  Jamal                                    Partner’s No.:  1180433

Partner’s Name:  Ameed Mahajna                              Partner’s No.:  1181623

Section: 1

Date: 23\10\2019.

Instructor: Mr. Nihad Abu-Awwad .

Data And Analysis:
 Part one : Calibration Curve.

| Scale (m) | T (m) | No. of slips |
| --- | --- | --- |
| 0.143 | 0 | 0 (zero point) |
| 0.146 | 0.00075 | 1 |
| 0.149 | 0.0015 | 2 |
| 0.152 | 0.00225 | 3 |
| 0.155 | 0.003 | 4 |
| 0.157 | 0.00375 | 5 |
| 0.16 | 0.0045 | 6 |
| 0.163 | 0.00525 | 7 |
| 0.166 | 0.006 | 8 |
| 0.169 | 0.00675 | 9 |
| 0.172 | 0.0075 | 10 |

Part Two : L Vs T
L0 = 50 cm       T0 = 28 ˚C

| T (˚C) | Heating |  | Cooling |  |
| --- | --- | --- | --- | --- |
|  | Scale(m) | L(cm) | Scale | L(cm) |
| 27 | 0.143 | 50 | 0.143 | 50 |
| 30 | 0.147 | 50.01 | 0.144 | 50.0023 |
| 35 | 0.149 | 50.015 | 0.145 | 50.0049 |
| 40 | 0.151 | 50.02 | 0.147 | 50.01 |
| 45 | 0.152 | 50.023 | 0.148 | 50.013 |
| 50 | 0.154 | 50.028 | 0.15 | 50.018 |
| 55 | 0.157 | 50.036 | 0.152 | 50.023 |
| 60 | 0.158 | 50.039 | 0.154 | 50.028 |
| 62 | 0.159 | 50.042 | 0.156 | 50.034 |

According to the graph above :
Slope = αL0 = 0.0011 → α = 0.0011\50 = 2.2 × 10-5 ˚C-1

Y-int. = L0-αL0T0 = 49.975 → α = 1.79 × 10-5 ˚C-1

According to the graph above :
Slope = αL0 = 0.000913 → α = 0.000913\50 = 1.8 × 10-5 ˚C-1

Y-int. = L0-αL0T0 = 49.9737 → α = 1.879  × 10-5 ˚C-1

Conclusion :

αavg=1.91725 ˚C-1         =0.09633 ˚C-1         
    → α=(1.9±0.1) ˚C-1  


The theoretical value of α = 1.9 ×  10-5 ˚C-1
| α avg- α theo|≤2×  (the result is accepted).

Notice that we used to determine the values of this column the formula abtained from the previous graph :
y = 38.18x + 0.1431

So :
L= L0+((scale-  0.1431)/38.18)